| Halogén tűlábas izzó GENERAL CHARACTERISTICS Lamp type Miniature - T & TL Shape Bulb T2.25 (T2 1/4) Base 2-Pin (G4) Primary Application Low Voltage Filament C-6 Rated Life 100 hrs Bulb Material Hard glass Atmosphere Gas-filled PHOTOMETRIC CHARACTERISTICS | Initial Lumens 201 Nominal Initial Lumens per Watt 20 Mean Spherical Candlepower (MSCP) 16 ELECTRICAL CHARACTERISTICS Wattage 8 Voltage 6 DIMENSIONS Maximum Overall Length (MOL) 1.0000 in (25.4 mm) Bulb Diameter (DIA) 0.2810 in (7.1 mm) Light Center Length (LCL) 0.7700 in (19.5 mm) PRODUCT INFORMATION Standard Package Case Standard Package Quantity 10 Sales Unit Unit No Of Items Per Sales Unit 1 No Of Items Per Standard Package 10 |
| --- | --- |